## Bus data
Bus number | Real power consumed (MW) | Reactive power consumed (Mvar) | Real power delivered (MW) | Voltage (pu) | Comments
1 |  |  |  | 1.05 | Slack bus
2 | 400 | 250 |  |  | Load bus
3 |  |  | 200 | 1.04 | Generator bus

## Line data
Source bus | Destination bus | Total resistance (pu) | Total reactance (pu) | Total susceptance (pu) | Maximum apparent power (MVA)
1 | 2 | 0.02 | 0.04 | 0
1 | 3 | 0.01 | 0.03 | 0
2 | 3 | 0.0125 | 0.025 | 0