## Bus data
Bus number | Real power consumed (MW) | Reactive power consumed (Mvar) | Real power delivered (MW) | Voltage (pu)
1 |  |  |  | 1
2 | 200 | 100

## Line data
Source bus | Destination bus | Total resistance | Total reactance | Total susceptance | Maximum apparent power (MVA)
1 | 2 | 0 | 0.1 | 0